## Sheet1
Supplementary Table S1. Risk of bias – WSI validation studies (QUADAS-2)
Study (Table1) | Patient selection | Index test | Reference standard | Flow and timing | Applicability concerns (Patient/Index/Reference) | Overall RoB (provisional) | Full-text verification checklist (items to confirm)
Rokshana S. Geread (2020) – piNET (Ki-67 proliferation index) | Consecutive enrollment not specified; Multi-center datasets (human and canine); Potential selection bias (representative ROIs selected, not all tissue) | Prespecified threshold (Otsu); Clear train/validation/test split (70:10:20 on SMH patches); Risk of data leakage: Low (other datasets held out for testing) | Expert pathologist nuclei annotations (SMH, DeepSlides, OVC); Pathologist PI scores (SMH WSIs); Protein Atlas PI ranges | All included samples analyzed; Clear data splitting for training/validation/testing; Time interval between index and reference standard not specified | Low/Low/Low (Human breast cancer Ki67 images; Relevant AI model; Expert pathologist reference standard) | Some concerns (Due to unclear patient selection/consecutive enrollment in source datasets, though multi-center design mitigates some bias) | No mention of consecutive enrollment; Representative ROIs selected, not whole slides universally; Explicit data splits described; No evidence of data leakage; Some datasets used pre-selected ROIs/TMAs
Kevin Faust (2022) – WSI registration + DL (morphologic + molecular) | Randomly selected clinical cases; Multi-class brain tumors; Consecutive enrollment not explicitly stated | Predefined CNN models (VGG19, Mask R-CNN); Clear train/test splits (no overlap); Risk of data leakage: Low (testing set held out) | Board-certified pathologist consensus; Corroborating clinical/molecular data; Standard diagnostic workflow | All selected samples analyzed; Clear data splitting for model development/validation/testing; No apparent sample loss | Low/Low/Low (Human brain tumors; Relevant AI models for classification/IHC; Expert pathologist reference) | Low (Clear methodology, appropriate reference standard, no major concerns identified across domains) | Random case selection confirmed; No mention of consecutive enrollment or difficult case exclusion; Explicit data splits and model training details provided; No evidence of data leakage; Testing on prospectively collected cases
Haiyang Yu (2025) – HNSC-classifier (head and neck cancer detection) | Public dataset (TCGA-HNSC); Patient-level stratified splitting; Class imbalance present (addressed with weighting) | Predefined ResNet34 architecture; Clear patient-level train/test split (80/20); Risk of data leakage: Low (explicit splitting, no test data in training) | Pathologist annotations from TCGA; Standard TNM staging system; No details on consensus process for reference standard | All samples analyzed; Clear data splitting strategy; No apparent sample loss; Time interval between index and reference not specified | High/Low/Some concerns (Frozen sections used, not routine FFPE; Relevant AI model; Reference standard from public dataset, details limited). | Some concerns (Primarily due to applicability of patient population (frozen vs. FFPE) and limited details on reference standard implementation). | No mention of consecutive enrollment; Public dataset used; Explicit patient-level splitting; No evidence of data leakage; Used frozen sections (not standard FFPE).
Rafael Parra-Medina (2025) – H. pylori detection via DL | Institutional dataset; Specific patient selection criteria not detailed; Potential selection bias (samples from a specific project) | Multiple predefined DCNN models (InceptionV3, ResNet50, VGG16); Clear train/test split (80/20); Risk of data leakage: Low (explicit splitting, external validation performed) | Immunohistochemistry (IHC) confirmation; Expert pathologist annotations on HE (reviewed by seniors); Robust reference standard | All samples analyzed; Clear data splitting; External validation performed; No apparent sample loss | Some concerns / Low / Low (Single-center institutional data; Relevant AI model for H. pylori detection; IHC as reliable reference standard) | Some concerns (Mainly due to unclear patient selection process and potential single-center bias, though mitigated by IHC reference and external validation) | Consecutive enrollment not mentioned; Dataset from "Urkumina 5000 project", selection unclear; Explicit data splits; External validation performed (lower sensitivity noted); No evidence of data leakage
Sumeth Yuenyong (2024) – Centroblast detection (object detection) | Single-center, retrospective; Non-consecutive enrollment (based on availability); High risk of selection bias (ROIs and patches pre-selected by heuristics/AI, not all tissue analyzed). | Multiple DCNNs (InceptionV3, ResNet50, VGG16); Clear 80/20 train/test split; External validation; Low risk of data leakage. | Pathologist consensus (labeler + reviewer) on bounding boxes; Standard based on WHO criteria; Some concerns (blinding to index test not mentioned) | All samples analyzed; Clear data flow and splitting; External validation performed. | Low/Low/Low (Relevant patient samples and target; AI model directly addresses CB counting task; Reference standard aligns with clinical practice). | High (Primarily due to High risk in Patient Selection domain, as the method of selecting patches does not reflect a consecutive, unbiased sample of all tissue) | Retrospective study; Non-consecutive enrollment confirmed; Patches pre-selected by size/heuristics and initial AI model (exclusion of difficult cases possible); Explicit data splits; No evidence of data leakage.
Samahit Mohanty (2023) – Automation pipeline for odontogenic keratocysts | Multi-center, retrospective; Consecutive enrollment unclear; Potential selection bias (exclusion of poor-quality slides) | Novel P-C-ReliefF CNN model; Clear 80/20 train/validation split; No external validation; Low risk of data leakage | Single experienced pathologist annotation; No mention of consensus or blinding; Some concerns about reference standard | All generated tiles included in analysis; Clear data flow and splitting; Low risk of bias. | Low/Low/Low (Relevant cysts and stains; AI for classification task; Pathologist as reference) | Some concerns (Due to unclear patient selection and some concerns in Reference Standard). | Retrospective, multi-center; Consecutive enrollment not confirmed; Poor-quality slides excluded; Explicit data splits; No external validation; No evidence of data leakage.
Masayuki Tsuneki (2022) – Weakly supervised gastric adenocarcinoma classification | Multi-center, retrospective; Cases selected randomly to reflect real clinical setting; Low risk of selection bias | EfficientNet-B1 with weak supervision and transfer learning; Multiple external test sets used; Low risk of data leakage | Diagnosis by at least 2 pathologists, verified by a senior; Robust reference standard. | All collected WSIs used; Clear data flow and external validation; Low risk of bias. | Low/Low/Low (Relevant clinical samples and task; Appropriate AI model; Expert consensus as reference) | Low (Clear methodology, appropriate reference standard, no major concerns identified across domains) | Retrospective, multi-center; Random case selection confirmed; Multiple external validations performed; No evidence of data leakage.
Shaoxu Wu (2024) – LN metastasis detection in prostate (retrospective multicentre diagnostic) | Consecutive patients from five centres; Multicentre retrospective design; Clear inclusion criteria (RP + PLND); Low risk of selection bias. | DeepLabv3+ with RegNet encoder; Prespecified threshold (optimal F₂ score); Clear data splits (time-based); External validation; Low risk of data leakage | Expert consensus (two senior pathologists); IHC used if disagreement; Blinding to clinical data; Robust reference standard. | All eligible patients analysed; Clear timeline; No sample loss concerns. | Low/Low/Low (Relevant PCa population; Appropriate AI model; Strong reference standard with expert consensus and IHC) | Low (Consecutive enrollment, robust reference standard, clear data splitting, extensive external validation, and minimal exclusions). | Consecutive enrollment stated; Time-based train/validation split; External validation across four centres; No evidence of data leakage; IHC used for discordant cases.
Michel Botros (2024) – Esophageal adenocarcinoma precursor lesions (DL) | Retrospective archive retrieval; Internal dataset from single center; Bolero dataset for comparison; Skewed distribution (enriched dysplasia); Potential selection bias. | Two-stage AI system (U-Net + Set Transformer); Prespecified thresholds; Clear train/validation/test splits (80/10/10); No evidence of data leakage | Expert consensus (4 BE pathologists); p53 IHC used if needed; Strong reference standard for Bolero set; Internal set confirmed by expert GI pathologist | Clear data splits; All cases analyzed; No sample loss reported; Comparable distribution across splits. | Some concerns/Low/Low (Single-center development data; Relevant AI model for BE dysplasia; Strong expert consensus reference). | Some concerns (Mainly due to single-center retrospective data with enriched dysplasia spectrum and potential selection bias, despite strong reference standard and clear methodology). | Retrospective archive samples; No consecutive enrollment stated; Skewed case distribution (enriched dysplasia); Clear data splitting; No evidence of data leakage; Expert consensus reference standard.