## Sheet1
Supplementary Table S3. AMSTAR-2 (adapted) assessment for technical/engineering studies (provisional)
# | Citation (year) | Protocol/preregistration/clear objectives | Methods/reproducibility (detail level) | Data and code availability | External validation/multi-site testing | Quantitative rigour and metrics (statistical/optical) | COI/funding transparency | Peer-reviewed? (journal) | Overall confidence (provisional) | Full-text verification checklist
1 | Chlipala EA et al., 2021. Impact of Preanalytical Factors During Histology Processing on Section Suitability for Digital Image Analysis. Toxicologic Pathology | Moderate | Moderate | Low | Low-moderate | Moderate | Low | Yes (peer-reviewed) | Moderate | Objective clearly stated (preanalytical histology variables and image suitability). Methods detailed (4 µm ±0.5 µm thickness, 24 h fixation in 10% NBF). Quantitative QC metrics defined (focus, stain uniformity scores). Single-site study; no external validation. Replicates performed; ImageJ/Aperio used for analysis. Funding disclosed (NIEHS); no COI. Evidence: Methods pp. 757–758; Results pp. 760–762; Table 2.
2 | Abd El-Aziz YM et al., 2025. Mastering the art of sectioning: comprehensive guide to slide-microtome technology. Front Vet Sci | Moderate | Moderate–High | Low | Low | Moderate | Low | Yes (peer-reviewed) | Moderate | Objective clearly stated (comprehensive guide to microtome mechanics and histological applications). Methods detailed, including blade angle, feed mechanism, and section thickness tolerance (3–5 µm ±0.5 µm). Engineering calibration and maintenance procedures described with quantitative ranges (vibration ≤ 1 µm). No inter-lab validation reported; examples limited to internal demonstration. Data reproducibility discussed conceptually; no datasets shared. Funding and conflicts not declared. Evidence: Methods pp. 4–6; Figures 2–3; Conclusion p. 10.
3 | Fera A et al., 2020. Quantitative method for estimating stain density in EM. J Microsc | Moderate | High | Low–Moderate | Low | High | Low | Yes (peer-reviewed) | Moderate | Objective clarity: The study clearly describes a quantitative method for estimating stain density in conventionally prepared biological EM specimens. Method transparency: Procedures, formulas, and instrument parameters (e.g., TEM beam energy, section thickness, objective aperture) are fully described. Validation and reproducibility: Method validated on three specimen types (platelet, brain, liver) with consistent results; provides quantitative tables and error estimation. Ethical compliance: Animal use approved by NHLBI Animal Care and Use Committee (Protocol #H0120). Potential bias: Minimal risk; quantitative method with clear equations, though limited to samples prepared under similar conditions. Data clarity: Figures and tables support results; raw intensity calculations and derivations are reproducible.
4 | Yagi Y., 2011. Color standardization and optimization in WSI. Diagn Pathol. | Low–Moderate | Moderate | Low | Low | Moderate | Low | Yes (peer-reviewed, supplement) | Moderate | Objective clearly stated (color standardization in Whole Slide Imaging). Methods described: display evaluation using Macbeth chart (23 displays measured) and custom calibration slides (9-color filter & H&E mouse embryo). Instrument parameters specified (HP Compaq LA 1750 displays, Anaheim Scientific analyzer, 3µm section thickness). QC procedures outlined for display and scanner calibration using the developed protocol. No explicit funding declaration; competing interests: "The authors declare that they have no competing interests." Evidence: Methods pp. 4-6; Results pp. 6-8; Figures 10-13, 14-15.
5 | Kumar N et al., 2020. Whole Slide Imaging (WSI) in Pathology: Current Perspectives. J Digital Imaging | Moderate | Moderate | Low | Low | Moderate | Low | Yes (peer-reviewed review) | Moderate | Objective clearly stated (review of WSI technology, applications, and future directions in pathology). Methods described as a literature review summarizing technical aspects and applications; no primary experimental methods or data collection detailed. No specific instrument parameters, QC procedures, or repeatability data provided. No primary datasets or validation studies presented. Funding sources not declared; competing interests explicitly stated: "The authors declare that they have no conflict of interest." Evidence: Technical requirements pp. 2-3; Applications pp. 3-4; Challenges pp. 4-5; References throughout.
6 | Faghani S et al., 2023. Efficient algorithm for WSI size reduction. Mayo Clin Proc Digit Health. | Moderate | High | Low–Moderate | Low–Moderate | High | Low | Yes (peer-reviewed) | Moderate | Objective clearly stated (to develop an algorithm for WSI background removal and size reduction). Methods detailed, including specific image processing steps: grayscale conversion, binary thresholding, hole filling, dilation, connected component extraction, and bounding box packing using rectangle-packer package. Instrument parameters specified (Aperio AT2 Scanner). QC procedures described through performance validation using a deep learning model (BEDDLM); repeatability implied by consistent 7.11x mean compression across 70 slides. No explicit funding declaration; competing interests disclosed for multiple authors (Erickson: FlowSIGMA/Yunu Inc; Iyer: Exact Sciences, Medtronic, etc.). Evidence: Methods pp. 2-3; Results p. 4; Table 1 performance metrics; Figure 1 algorithm workflow.
7 | Onitiu D et al., 2024. How AI challenges medical device regulation. J Law Biosci. | Moderate | Moderate (legal analysis) | N/A | N/A | Moderate (policy evidence) | Moderate | Yes (peer-reviewed) | Moderate | Objective clearly stated (to examine if EU Medical Device Regulation adequately addresses AI-based medical device risks, focusing on patient safety and benefit definitions). Methods described as legal/regulatory analysis examining MDR's General Safety and Performance Requirements and manufacturer intended use statements; no experimental methods or primary data collection. No instrument parameters, QC procedures, or repeatability data presented. Funding sources declared: Wellcome Trust, Sloan Foundation, UK Department of Health and Social Care, Luminate Group. Competing interests not explicitly stated. Evidence: Legal analysis throughout; Sections II-III detailed examination of MDR requirements; Case study pp. 17-19.
Adapted AMSTAR-2 assessment (S3). For technical and engineering studies we adapted core AMSTAR-2 concepts to assess transparency, methodological detail, reproducibility and validation. Key items considered were: presence of predefined objectives or protocol; level of methods detail enabling reproducibility; availability of data or code; presence of external/multi-site validation; quantitative rigour (metrics, repeatability, uncertainty); conflict of interest / funding transparency; and peer-review status. Each study was provisionally rated as High / Moderate / Low confidence based on these items; final ratings must be confirmed with full-text evidence. The rightmost column lists the specific checks required during full-text verification.